## Slide 1: AI-Based Transformer Health Condition Monitoring
Capstone Project | Electrical and Electronics Engineering | [Student Name]

## Slide 2: Problem Statement
Classify transformer condition using operating parameters.
Educational decision-support prototype only; not for real maintenance decisions.

## Slide 3: Objectives
Prepare data and perform exploratory analysis.
Compare Random Forest and Gradient Boosting.
Evaluate precision, recall, F1-score and confusion matrix.
Display predictions in a Streamlit dashboard.

## Slide 4: Dataset and Features
1,800 simulated records generated by a reproducible script.
Load, temperatures, voltage, oil level, moisture, vibration and H₂ indicator.
Target categories: Normal, Warning, High Risk.
Synthetic labels are not field diagnoses.

## Slide 5: System Architecture
CSV → preprocessing → model training → evaluation → saved model → Streamlit dashboard.
Python, Pandas, scikit-learn, Matplotlib/Seaborn and Streamlit.

## Slide 6: Models and Evaluation
Train Random Forest and Gradient Boosting baselines.
Compare accuracy and weighted F1-score.
Use generated model_comparison.csv and classification report.
Insert actual metrics after running the code.

## Slide 7: Dashboard Demonstration
Enter transformer operating parameters.
Click Predict condition.
Show predicted category and dataset preview.
Explain the limits of synthetic data.

## Slide 8: Limitations and Safety
Dataset is simulated; no real-world accuracy claim.
Class scores are not calibrated failure probabilities.
Not a substitute for professional transformer testing.

## Slide 9: Conclusion and Future Work
Demonstrates an end-to-end machine-learning workflow.
Next: validated dataset, temporal validation, explainability and expert review.